## Supplementary Table 1
Supplementary Table 1. Limit of Detection (LOD) evaluation results
Virus Type | Concentration (TCID50/mL) | Number of Replicates | Number of Detected | Detection Rate (%)
SARS-CoV-2 | 1.0×10⁶ | 20 | 20 | 100
| 1.0×10⁵ | 20 | 20 | 100
| 1.0×10⁴ | 20 | 20 | 100
| 1.0×10³ | 20 | 20 | 100
| 1.0×10² | 20 | 20 | 100
| 5.0×10¹ | 20 | 19 | 95
IAV | 1.0×10⁴ | 20 | 20 | 100
| 1.0×10³ | 20 | 20 | 100
| 1.0×10² | 20 | 20 | 100
| 5.0×10¹ | 20 | 19 | 95
IBV | 1.0×10⁴ | 20 | 20 | 100
| 1.0×10³ | 20 | 20 | 100
| 1.0×10² | 20 | 20 | 100
| 5.0×10¹ | 20 | 19 | 95
Note: The concentration gradients were generated by serial dilution of the virus in a negative sample matrix, with finer dilution steps applied near the detection limit. The limit of detection (LOD) was defined as the lowest concentration at which a detection rate of ≥95% (≥19/20 replicates) was achieved. Based on this criterion, the LOD for all three viruses was determined to be 1.0×10² TCID₅₀/mL, as the detection rate decreased at lower concentrations.

## Supplementary Table 2
Supplementary Table 2. Cross-reactivity test results for five common respiratory pathogens
Pathogen | Tested Concentration | Result
Respiratory Syncytial Virus | 1.0×10⁵ TCID50/mL | Negative
Mycoplasma pneumoniae | 1.0×10⁵ CFU/mL | Negative
Parainfluenza Virus | 1.0×10⁵ TCID50/mL | Negative
Adenovirus | 1.0×10⁵ TCID50/mL | Negative
Rhinovirus | 1.0×10⁵ TCID50/mL | Negative
Note: The above pathogens are common respiratory pathogens, tested at concentrations higher than clinically relevant levels. The results indicate no cross-reactivity between the developed kit and these pathogens.